| ]Lesson No. | Date | Comment | Session Length | Delivery mode | Topic | Aims & Objectives | Learner activities |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | 1 hours | In class Workshop | Course introduction | Course introduction and structure including topics. Get to know the students, their strengths and weaknesses. . | Q and A with lecturer to close any knowledge gaps. Share any relevant practical experiences working in industry |
| 2 |  |  | 3 Hour | On campus workshop | Safe Isolation | Understand the need for safe isolation. Demonstrate to student how to isolate and Prove dead. Complete Permit to work | Student to carry out safe isolation procedure. Use different lock for isolating consumer unit breakers. Prove dead. Familiar with company Permit to work |
| 4 |  |  | 3 hours | Inclass/ Workshop Power point | Testing and Inspection | Understand the difference between insulation resistance and continuity testing. Identify the basic requirements of inspection and testing of low voltage electrical installations. | Student to complete Tutorial 1 |
| 4 |  |  | 3 |  | Visual Inspection | Need for visual inspection Example of faults Checklist | Practical exercise where student will need to identify faults /defect within a electrical installation Complete a checklist |  |
| 5 |  |  | 1 | in class Power point | Visual Inspection | Tutorial outcome 2 | Student to complete the tutorial for outcome 2. |
| 6 |  |  | 2 | Inclass Power point | Polarity Testing | Power point | Student to demonstrate how to carry out Polarity testing on 1 way light switch |
| 7 |  |  | 2 | Inclass/ Workshop PowerPoint | IR Testing | Need for IR testing How to carry out IR testing | Students to carry out IR testing on Consumer unit. |
| 8 |  |  | 2 | Practical | Testing | Complete testing | Students to carry out a visual inspection. Carry out polarity test on electrical circuts Carry out IR test. Interpret Results |