Inspection & testing – Outcome 1

Inspection & testing multiple choice tutorial

Choose only one answer

Q1) What is the definition of an earth fault?

- Two live conductors touch.

- Two earth conductors are accidently connected.

- The earth cable bonded to the equipment casing is disconnected.

- When electrical current finds an unintentional flow path to earth.

b) What is the definition of a short circuit fault?

- Two live conductors touch.

- Two earth conductors are accidently connected.

- The earth cable bonded to the equipment casing is disconnected.

- When electrical current finds an unintentional flow path to earth.

c) What is the definition of an open circuit fault?

- Two live conductors touch.

- Two earth conductors are accidently connected.

- The earth cable bonded to the equipment casing is disconnected.

- When there is a physical break or disconnection in the circuit.

Q2) What is the electrical fault in the diagram below?

- Short circuit.

- Open circuit.

- Earth fault

- There is no fault.

b) What is the electrical fault in the diagram below?

- Short circuit.

- Open circuit.

- Earth fault

- There is no fault.

- What is the electrical fault in the diagram below?

- Short circuit.

- Open circuit.

- Earth fault

- There is no fault.

d) What part of the circuit diagram below represents an earth fault?

- a

- b

- c

- None of the above.

Q3) What is the consequence of an earth fault?

- Live conductors touch, which bypasses the load and creates a very low resistance path. This results in a very high current which melts cable conductors & insulation.

- There is no consequence.

- The earth cable bonded to the equipment casing is disconnected.

- Electrical current flows via an unintentional flow path to earth then the RCD trips

b) What is the consequence of a short circuit fault?

- Live conductors touch, which bypasses the load and creates a very low resistance path. This results in a very high current which melts cable conductors & insulation.

- There is no consequence.

- The earth cable bonded to the equipment casing is disconnected.

- Electrical current flows via an unintentional flow path to earth.

c) What is the consequence of an open circuit fault?

- Two live conductors touch.

- Electrical current cannot flow through the circuit so the electrical equipment will not operate.

- The earth cable bonded to the equipment casing is disconnected.

- The circuit cannot ever be closed.