Inspection & testing – Outcome 2

Testing

1 : With regarding to a 1 way light switch, Write down the procedure for carrying out a Polarity Test.

2:  Write a step-by-step procedure for carrying out a Insulation Resistance test from a Consumer unit.