## Feuil1
Si | Equipment | Characteristics | Nb | Picture / file | Brand | Ref | Price | Remarke
1 | Solar Panels | Pm:290 Wp, Voc: 39.6 V, Isc:9,2A | 8 | sunmodule-plus-sw-290-300-mono-solar-datasheet.pdf | SolarWorld | SW290 |  | Other brands OK
2 | Frame for Solar Panels |  | 8 |  | Local
3 | Cable for Solar Panels | Form Solar system - 6sqm | 100m |  | Local
4 | MC4 Connector for Solar Panels - Male & Female Pair |  | 50 |  | Local
5 | MC4 T-Branch Solar Connectors - 2 males - 1 female |  | 20 |  | Local
6 | MC4 T-Branch Solar Connectors - 1 male - 2 females |  | 20 |  | Local
7 | Enclosure "E1" "Array Box" - Thalassa PLS | NSYPLS2736AG | 4 | file:UE16MK16EN (web).pdf page 150 | Schneider Electric | NSYPLS2736AG
8 | Fixing for Thalassa PLS Enclosure | NSYPF27N | 4 | file:UE16MK16EN (web).pdf page 153 | Schneider Electric | NSYPF27N
9 | ISO cable gland for Thalassa PLS Enclosure - | M12 | 20 | file:UE16MK16EN (web).pdf page 254 | Schneider Electric
10 | ISO cable gland for Thalassa PLS Enclosure - | M16 | 10 | file:UE16MK16EN (web).pdf page 254 | Schneider Electric
11 | "Q1" - DC-PV Switch Disconnector | C60 NA-DC | 4 | file: EDCED112005EN (web).pdf page 26 | Schneider Electric | A9N61690 |  | 2 for batteries, 2 for solars
12 | MN/MX remote opening accessory for Acti 9 range | 230V | 4 | file: EDCED112005EN (web).pdf page 28 | Schneider Electric | A9N26969
13 | Enclosure "E2" "Indoor Enclosure" | SW DC Distribution Panel | 1 | file: Conext-SW-Power-Dist.-Panels.pdf | Schneider Electric
14 | "Q2" - DC-PV Switch Disconnector | C60 NA-DC | 2 | file: EDCED112005EN (web).pdf page 26 | Schneider Electric | A9N61690
15 | Surge Protection “SPD2” - | iPRD DC 40r 600PV | 2 | file: Acti 9 surge arrester type 2.pdf page 294 | Schneider Electric
16 | Enclosure “E3” Kaedra, Pragma, etc. | SW AC Power Distribution Panel (230 V) | 2 | file: ConextSW_PDP_Datasheet_ENG.pdf | Schneider Electric
17 | "Q3" RCD type B or A SI - DPN Si PV | RCBO - DPN N Vigi SI | 2 |  | Schneider Electric | A9N19646
18 | “SPD3” iQuick PF or iQuick PRD 1P+N | iPRD20 | 2 | file: Acti 9 surge arrester type 2.pdf page 298 | Schneider Electric | A9L16672
19 | Solar Charger Controler | MPPT 60 150 | 1 | DS20130709_MPPT60150.pdf | Schneider Electric
20 | Inverter/charger | SW 2524 | 1 | conext-sw-brochure-20160613.pdf | Schneider Electric
21 | Batteries | 12V, 1000 AH, acide lead | 6 |  | local
22 | Solar Panel | 12V,80Wp | 6 |  | Kotak | KM-0080
23 | Solar Panel | 24V,150Wp | 10 |  | Kotak | KM-0150
24 | Solar Panel | 12V,100Wp | 8 |  | Kotak | KM-0100
25 | Solar Panel | 24V,200Wp | 4 |  | Kotak | KM-0200
26 | Module mounting structure | 3 in 1 mounting structure for 12V,80Wp solar panels | 2 |  | Kotak
27 | Module mounting structure | 8 in 1 mounting structure for 24V,150Wp solar panels | 1 |  | Kotak
28 | Module mounting structure | 4 in 1 mounting structure for 12V,100Wp solar panels | 2 |  | Kotak
29 | Module mounting structure | 4 in 1 mounting structure for 24V,200Wp solar panels | 1 |  | Kotak
30 | Plywood packaging charge for 200Wp | Plywood packaging charge for 200Wp | 1 |  | Kotak
31 | Shipping cost from Kotak to above delivery address. | Shipping cost from Kotak to above delivery address. | 1 |  | Kotak
32 | Battery | 12V,20Ah,Lead Acid | 5 |  | Luminous | LUM 12V20AH
33 | Battery | 12V,40Ah,Lead Acid | 5 |  | Luminous | LUM 12V40AH
34 | Battery | 12V,75Ah,Lead Acid | 5 |  | Luminous | LUM 12V75AH
35 | Battery | 12V,100Ah,Lead Acid | 2 |  | Luminous | LUM 12V100AH
36 | Battery | 12V,150Ah,Lead acid | 2 |  | Luminous | LUM 12V150AH
37 | DC Fan | 12V,15W | 6 |  | Luminous | F5512DC121EX
38 | Hybrid Inverter | 1500VA,24V | 2 |  | Luminous
39 | Hybrid Inverter | 850VA,12V | 2 |  | Luminous | F19185001619
40 | Hybrid Inverter | 12V/ 500VA | 2 |  | Luminous | F1915000D101
41 | Solar Charge Controller | 12V,6A | 10 |  | Schneider | AEH-SCC04-6A
42 | Solar Charge Controller | 12V,10A | 10 |  | Schneider | AEH-SCC06-10A
43 | Solar Charge Controller with USB - 3A | 12V,3A | 10 |  | Schneider | AEH-SCC02-3A
44 | Microgrid Charge Controller - 4A | 12V,4A | 20 |  | Schneider | AEC-MGD-SCC0U04
45 | AC MCB | 230V,15A,AC,2 pole | 4 |  | Schneider | A9N2P16C
46 | AC MCB enclosure,4module | Kaedra enclosure - 4module modules - terminal blocks | 4 |  | Schneider | 13441
47 | DC MCB | 10A,300V, double pole | 4 |  | Schneider | A9N61528
48 | DC MCB | 10A,insulation voltage>360V, 2 pole | 2 |  | Schneider | A9N61528
49 | DC MCB | 30A,insulation voltage>35V,single pole | 2 |  | Schneider | A9N61515
50 | DC MCB | 30A Insulation volatge>45V,single pole | 2 |  | Schneider | A9N61515
51 | Lightning Arrestor | 1.1KV | 2 |  | Schneider | A9L40281