## Sheet1
Danh sách thiết bị điện
I. Thông tin chung
Đơn vị thụ hưởng: | Trường Cao Đẳng Lý Tự Trọng Tp. Hồ Chí Minh
Đơn vị cung cấp: | Dự án Electric Training
Mục đích: | Hoàn thiện phòng thực hành
II. Danh sách thiết bị
Main Power supply
Thương hiệu | Mã số | Tên Gọi | Số lượng
Schneider | A9F74463 | MCB 4p curve C iC60N 63A | 1
Schneider | A9V41463 | RCD Vigi module for iC60 30mA [AC type] | 1
Schneider |  | Enclosure | 1
Industrial Power supply
Thương hiệu | Mã số | Tên Gọi | Số lượng
Schneider | PKF16W435 | IP44 Wall mounted Socket 5P 380/415 V 16 A | 6
Schneider | PKF16W423 | IP44 Wall mounted Socket 3P 200-250 V 16 A | 6
Schneider | S56E2GY_G15 | 2G thick box for serie 56 | 6
Schneider | A9F74416 | MCB 4p curve C iC60N | 2
Schneider | A9F74316 | MCB 3p curve C iC60N | 2
Schneider | LC1DT32P7 | Contactor 4 poles 32 A Control circuit 230V 50 Hz | 2
Schneider | LC1D32P7 | Contactor 3 Poles 32 A Control circuit 230V 50 Hz | 2
Schneider | XB5AW33M1N | Illuninated Integral Spring Push Button NO with LED Green | 4
Schneider | XB5AW34M2N | Illuninated Integral Spring Push Button NC with LED Red | 4
Schneider | EZ9F34206 | MCB 2p Curve 6A | 1
Schneider | XB5AS9442 | Ø 40 mm mushroom head Emergency stop pushbuttons | 2
Schneider | XALK188E | Emergency stop (2) (light grey RAL 7035 base with yellow RAL 1012 lid) | 8
Total
Domestic Power Supply
Thương hiệu | Mã số | Tên Gọi | Số lượng
Schneider | A9F74216 | MCB 2p curve C iC60N 16 A | 4
Schneider | 3031V400FM_K_WE | Fan speed controller | 9
Schneider | 3031_1_2M_F_G19 | 16A 1 way switch w.fluores (S size) | 16
Schneider | A3000_G19 | 3 gang plate | 4
Schneider | A3002_G19 | 2 gang plate | 3
Schneider | 3426UEST2M_G19 | 16A 3 pin twin socket | 24
Schneider | A3000T2_G19 | Twin plate | 24