## General
CTY TNHH MỘT THÀNH VIÊN TM& DV KỸ THUẬT ANH DŨNG
ĐC: 2/3 A Quang Trung , Phường 12, Q Gò Vấp , Tp.HCM
MST: 0308045998
ĐT : (+84 8) 66563631
Người gửi: Phạm Việt Hùng |  |  |  |  | Người nhận: Đặng Đức Minh
DĐ: 0983398982 |  |  |  |  | TÊN CTY: Trường Cao Đẳng Kỹ Thuật Lý Tự Trọng
BGS:…../04/2015 |  |  |  |  | Địa chỉ:
Email: hung.phamnewport@gmail.com |  |  |  |  | ĐT:
Subj: Module thực hành cho phòng Scada |  |  |  |  | Email :
Items No. | MRPD or Designation | Description | Qty | GCK | CO | Delivery time | Unit Price (VND) | Total Price (VND) | Note
|  | Module Biến tần + AC motor | 1 |  |  |  | 328728400 | 328728400
|  | Module Servo motor + Step motor | 1 |  |  |  | 525254400 | 525254400
|  | Module Băng tải phân loại sản phẩm | 1 |  |  |  | 553389400 | 553389400
|  | Module Khí nén | 1 |  |  |  | 432715400 | 432715400
|  | Module AD-DA | 1 |  |  |  | 382293400 | 382293400
|  | Labour | 1 |  |  |  | 400000000 | 400000000
|  | Total price | 1 |  |  |  |  | 2622381000
|  | VAT 10% | 1 |  |  |  |  | 262238100
|  | Total price after tax | 1 |  |  |  |  | 2884619100

## Detail
CTY TNHH MỘT THÀNH VIÊN TM& DV KỸ THUẬT ANH DŨNG
ĐC: 2/3 A Quang Trung , Phường 12, Q Gò Vấp , Tp.HCM
MST: 0308045998
ĐT : (+84 8) 66563631
Người gửi: Phạm Việt Hùng |  |  |  |  | Người nhận: Đặng Đức Minh
DĐ: 0983398982 |  |  |  |  | TÊN CTY: Trường Cao Đẳng Kỹ Thuật Lý Tự Trọng
BGS:…../04/2015 |  |  |  |  | Địa chỉ:
Email: hung.phamnewport@gmail.com |  |  |  |  | ĐT:
Subj: Module thực hành cho phòng Scada |  |  |  |  | Email :
Items No. | MRPD or Designation | Description | Qty | GCK | CO | Delivery time |  | Unit Price (VND) | Total Price (VND) | Note
Module Bien Tan + AC motor
1 | Laptop Dell Inspiron 3543-696TP1 | Intel Core i5-5200U 2.2GHz - 3M, DDRAM 4GB/1600 (1 slot), HDD 1Tb, | 1 |  | Dell |  |  | 17600000 | 17600000
2 | 6ES7214-1BG40-0XB0 | SIMATIC S7-1200, CPU 1214C, COMPACT CPU,AC/DC/RLY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 100 KB | 1 | R111 | Germany | 9 | weeks | 5200000 | 5200000 | Option 1: Dung nguon 220Vac
3 | 6ES7822-0AA03-0YA5 | SIMATIC STEP 7 BASIC V13 SP1 ,FLOATING LICENSE; ENGINEERING SOFTWARE IN TIA PORTAL;SOFTWARE AND DOCUMENTATION,ON DVD; LICENSE KEY,ON USB-STICK; CLASS A;6 LANGUAGES: GE,EN,IT,FR,SP,CN;EXECUTABLE UNDER WINDOWS 7 (32 BIT, 64 BIT), WINDOWS 8.1 (64 BIT); FOR CONFIGURATION OF,SIMATIC S7-1200,SIMATIC BASIC PANELS | 1 | R111 | Germany | 9 | weeks | 4587000 | 4587000
4 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663000 | 663000
5 | 6ES7274-1XF30-0XA0 | SIMATIC S7-1200, SIMULATOR MODULE SIM1274,8 CHANNEL SIMULATOR DC INPUT SWITCHES | 3 | R111 | Germany | 9 | weeks | 1326000 | 3978000
6 | 6ES7232-4HA30-0XB0 | SIMATIC S7-1200, ANALOG OUTPUT SB 1232, 1 AO, +/- 10VDC (12 BIT RES.) OR 0 - 20 MA (11 BIT RES) | 1 | R111 | Germany | 9 | weeks | 1246000 | 1246000
7 | 6GK5005-0BA00-1AB2 | SCALANCE XB005,UNMANAGED INDUSTRIAL ETHERNET ,SWITCH FOR 10/100MBIT/S; WITH,5 X 10/100MBIT/S TWISTED PAIR-PORTS WITH RJ45-SOCKETS;FOR CONFIGURING SMALL STAR-AND LINE TOPOGRAPHIES; LED-DIAGNOSIS, IP20, 24 V DC POWER SUPPLY,MANUAL AVAILABLE AS DOWNLOAD | 1 | R320 | Germany | 9 | weeks | 2547000 | 2547000
8 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 3 | R320 | Germany | 9 | weeks | 663000 | 1989000
9 | 6AV2124-0GC01-0AX0 | SIMATIC HMI TP700 COMFORT, COMFORT PANEL, TOUCH OPERATION, 7" WIDESCREEN-TFT-DISPLAY,16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 1 | R119 | Germany | 9 | weeks | 20174000 | 20174000
10 | 6SL3040-1LA01-0AA0 | SINAMICS S120, CONTROL UNIT CU310-2 PN, WITH PROFINET INTERFACE WITHOUT COMPACTFLASH CARD | 1 | R220 | Germany | 11 | weeks | 18390000 | 18390000
11 | 6SL3054-0EG01-1BA0 | SINAMICS S120, COMPACTFLASH CARD, WITH FIRMWARE OPTION,PERFORMANCE-EXTENSION, INCLUDING CERTIFICATE OF LICENCE V4.06 | 1 | R220 | Germany | 9 | weeks | 8927000 | 8927000
12 | 6SL3074-0AA10-0AA0 | SINAMICS LICENSE SAFETY INTEGRATED EXTENDED FUNCTIONS FOR MEMORY CARD | 1 | R220 | Germany | 9 | weeks | 3525000 | 3525000
13 | 6SL3055-0AA00-4BA0 | SINAMICS S120 BASIC OPERATOR PANEL BOP20 FOR ELECTRONIC CONTROLS TWO-LINE DISPLAY, 6 KEYS FOR PARAMETER SETTING AND DIAGNOSTIC INFORMATION SUITED FOR CONTROL UNITS CU305, CU310, CU320 | 1 | R220 | Switzerland | 9 | weeks | 841000 | 841000
14 | 6SL3210-1SB12-3AA0 | SINAMICS S120 CONVERTER POWER MODULE PM340 INPUT: 1AC 200-240V, 50/60HZ OUTPUT: 3AC 2,3A (0,37KW) FRAME SIZE: BLOCKSIZE SIZE FSA WITH INTEGRATED LINE FILTER INTERNAL AIR COOLING | 1 | R220 | United Kingdom | 9 | weeks | 6747000 | 6747000
15 | 6SE6400-3CC00-4AB3 | MICROMASTER 4 AC COMMUTATION CHOKE 200V-240V 1AC 3,4A FOOTPRINT FSA - 9.5MH NOT FOOTPRINT FOR V20 | 1 | R220 | Germany | 9 | weeks | 1124000 | 1124000
16 | 6SL3262-1AA00-0BA0 | SINAMICS SCREENING KIT FOR POWER MODULE FSA PM240 | 1 | R220 | United Kingdom | 9 | weeks | 544000 | 544000
17 | 1LA7070-4AB10-ZA23+H57 | SIMOTICS GP LOW-VOLTG. SQUIRREL-CAGE MOTOR IP55, 4-POLE * SIZE 71 M THERM. CL.155(F) ALUMINUM ENCL. 3 AC 50HZ 230VD/400VY * 0,25 KW 3 AC 60HZ 460V Y * 0,29 KW 220-240/380-420(50);440-480(60) IM B 3, IM B 6, IM B 7, IM B 8, IM V 5 W/O CANOPY, IM V 6 A23=MOTOR TEMPERATURE DETECTION KTY 84-130 H57=PULSE GENERATOR 1XP8 001-1 ,1024 PULSES PER REV. INCLUDING MOUNTING COSTS W.UNIT | 1 | P113 | Czech Republic | 12 | weeks | 8045000 | 8045000
18 | 6SL3060-4AA10-0AA0 | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.95 M | 3 | R220 | Germany | 11 | weeks | 502000 | 1506000
19 | 6SL3060-4AA10-0AA0 | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.95 M | 3 | R220 | Germany | 11 | weeks | 504000 | 1512000
20 | 6SX7002-0AN00-1AC0 | SIGNAL CABLE, PREASSEMBLE (1XP8 ZU SMC) 5X2X0,25, D. MAX. 8 MM , LENGTH (M) + 0 + 0 + 2 | 3 | R2S3 | Slovakia | 9 | weeks | 2400000 | 7200000
21 |  | Install equipments | 1 |  |  |  |  | 150000000 | 150000000
22 |  | Documments + Exercise + Trainning course | 1 |  |  |  |  | 50000000 | 50000000
24 | 6SL3072-0AA00-0AG0 | SOFTWARE ON DVD: STARTER COMMISSIONING TOOL,FOR SINAMICS AND MICROMASTER, VERSION V4.4 HF3,DVD FOR WINDOWS SERVER 2003 SP2 (32BIT) WINDOWS SERVER 2008 R2 SP1 (64-BIT) WINDOWS XP PROF SP3 (32-BIT), WINDOWS 7 (32 BIT AND 64 BIT) PROFESSIONAL, ULTIMATE AND ENTERPRISE (STANDARD) GERMAN, ENGLISH, SPANISH FRENCH AND ITALIAN CONTAINS ALREADY THE SSP FOR SINAMICS G/S VERSION V4.7 | 1 | R220 | Germany | 9 | weeks | 628100 | 628100
25 | 6AU1810-1HA22-1XA0 | SINAMICS ENGINEERING SYSTEM DCC SINAMICS V2.2 SP1 FULL LICENSE DCC FOR SINAMICS OPTION TO STARTER V4.3 SP1 DELIVERY ON DATA CARRIER DVD INCL: FLOATING LICENSE | 1 | R220 | Germany | 9 | weeks | 6273000 | 6273000
26 | 6SL3070-0AA00-0AG0 | SIZER FOR SIEMENS DRIVES DRIVE DESIGN TOOL DVD FOR WINDOWS XP PROFESSIONAL SP3, WINDOWS XP HOME SP3 AND WINDOWS VISTA BUSINESS WINDOWS 7 ULTIMATE (32/64BIT) WINDOWS 7 ENTERPRISE (32/64BIT) WINDOWS 7 PROF. (32/64BIT) RELEASE V3.11 | 1 | R220 | Germany | 13 | weeks | 753500 | 753500
27 | 5SY6110-7 | CIRCUIT BREAKER 230/400V 6KA, 1-POLE, C, 10A, D=70MM | 1 | P310 | Germany | 9 | weeks | 827500 | 827500
28 | 6EP1333-3BA00 | SITOP PSU200M 5 A STABILIZED POWER SUPPLY INPUT: 120/230-500 V AC OUTPUT: 24 V DC/5 A | 1 | R315 | Romania | 9 | weeks | 3238000 | 3238000
29 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45 CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663300 | 663300
Module servo motor +Stepper motor
1 | Laptop Dell Inspiron 3543-696TP1 | Intel Core i5-5200U 2.2GHz - 3M, DDRAM 4GB/1600 (1 slot), HDD 1Tb, | 1 |  | Dell |  |  | 17600000 | 17600000
2 | 6ES7214-1BG40-0XB0 | SIMATIC S7-1200, CPU 1214C, COMPACT CPU,AC/DC/RLY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 100 KB | 1 | R111 | Germany | 9 | weeks | 5200000 | 5200000 | Option 1: Dung nguon 220Vac
3 | 6ES7822-0AA03-0YA5 | SIMATIC STEP 7 BASIC V13 SP1 ,FLOATING LICENSE; ENGINEERING SOFTWARE IN TIA PORTAL;SOFTWARE AND DOCUMENTATION,ON DVD; LICENSE KEY,ON USB-STICK; CLASS A;6 LANGUAGES: GE,EN,IT,FR,SP,CN;EXECUTABLE UNDER WINDOWS 7 (32 BIT, 64 BIT), WINDOWS 8.1 (64 BIT); FOR CONFIGURATION OF,SIMATIC S7-1200,SIMATIC BASIC PANELS | 1 | R111 | Germany | 9 | weeks | 4587000 | 4587000
4 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 3 | R320 | Germany | 9 | weeks | 663000 | 1989000
5 | 6ES7274-1XF30-0XA0 | SIMATIC S7-1200, SIMULATOR MODULE SIM1274,8 CHANNEL SIMULATOR DC INPUT SWITCHES | 3 | R111 | Germany | 9 | weeks | 1326000 | 3978000
6 | 6ES7232-4HA30-0XB0 | SIMATIC S7-1200, ANALOG OUTPUT SB 1232, 1 AO, +/- 10VDC (12 BIT RES.) OR 0 - 20 MA (11 BIT RES) | 1 | R111 | Germany | 9 | weeks | 1246000 | 1246000
7 | 6GK5005-0BA00-1AB2 | SCALANCE XB005,UNMANAGED INDUSTRIAL ETHERNET ,SWITCH FOR 10/100MBIT/S; WITH,5 X 10/100MBIT/S TWISTED PAIR-PORTS WITH RJ45-SOCKETS;FOR CONFIGURING SMALL STAR-AND LINE TOPOGRAPHIES; LED-DIAGNOSIS, IP20, 24 V DC POWER SUPPLY,MANUAL AVAILABLE AS DOWNLOAD | 1 | R320 | Germany | 9 | weeks | 2547000 | 2547000
8 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 3 | R320 | Germany | 9 | weeks | 663000 | 1989000
9 | 6AV2124-0GC01-0AX0 | SIMATIC HMI TP700 COMFORT, COMFORT PANEL, TOUCH OPERATION, 7" WIDESCREEN-TFT-DISPLAY,16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 1 | R119 | Germany | 9 | weeks | 20174000 | 20174000
10 | 6SL3040-1LA01-0AA0 | SINAMICS S120, CONTROL UNIT CU310-2 PN, WITH PROFINET INTERFACE WITHOUT COMPACTFLASH CARD | 1 | R220 | Germany | 11 | weeks | 18390000 | 18390000
11 | 6SL3054-0EG01-1BA0 | SINAMICS S120, COMPACTFLASH CARD, WITH FIRMWARE OPTION,PERFORMANCE-EXTENSION, INCLUDING CERTIFICATE OF LICENCE V4.06 | 1 | R220 | Germany | 9 | weeks | 8927000 | 8927000
12 | 6SL3074-0AA10-0AA0 | SINAMICS LICENSE SAFETY INTEGRATED EXTENDED FUNCTIONS FOR MEMORY CARD | 1 | R220 | Germany | 9 | weeks | 3525000 | 3525000
13 | 6SL3055-0AA00-4BA0 | SINAMICS S120 BASIC OPERATOR PANEL BOP20 FOR ELECTRONIC CONTROLS TWO-LINE DISPLAY, 6 KEYS FOR PARAMETER SETTING AND DIAGNOSTIC INFORMATION SUITED FOR CONTROL UNITS CU305, CU310, CU320 | 1 | R220 | Switzerland | 9 | weeks | 841000 | 841000
14 | 6SL3210-1SB12-3AA0 | SINAMICS S120 CONVERTER POWER MODULE PM340 INPUT: 1AC 200-240V, 50/60HZ OUTPUT: 3AC 2,3A (0,37KW) FRAME SIZE: BLOCKSIZE SIZE FSA WITH INTEGRATED LINE FILTER INTERNAL AIR COOLING | 1 | R220 | United Kingdom | 9 | weeks | 6747000 | 6747000
15 | 6SE6400-3CC00-4AB3 | MICROMASTER 4 AC COMMUTATION CHOKE 200V-240V 1AC 3,4A FOOTPRINT FSA - 9.5MH NOT FOOTPRINT FOR V20 | 1 | R220 | Germany | 9 | weeks | 1124000 | 1124000
16 | 6SL3262-1AA00-0BA0 | SINAMICS SCREENING KIT FOR POWER MODULE FSA PM240 | 1 | R220 | United Kingdom | 9 | weeks | 544000 | 544000
17 | 1LA7070-4AB10-ZA23+H57 | SIMOTICS GP LOW-VOLTG. SQUIRREL-CAGE MOTOR IP55, 4-POLE * SIZE 71 M THERM. CL.155(F) ALUMINUM ENCL. 3 AC 50HZ 230VD/400VY * 0,25 KW 3 AC 60HZ 460V Y * 0,29 KW 220-240/380-420(50);440-480(60) IM B 3, IM B 6, IM B 7, IM B 8, IM V 5 W/O CANOPY, IM V 6 A23=MOTOR TEMPERATURE DETECTION KTY 84-130 H57=PULSE GENERATOR 1XP8 001-1 ,1024 PULSES PER REV. INCLUDING MOUNTING COSTS W.UNIT | 1 | P113 | Czech Republic | 12 | weeks | 8045000 | 8045000
18 | 6SL3060-4AA10-0AA0 | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.95 M | 3 | R220 | Germany | 11 | weeks | 502000 | 1506000
19 | 6SL3060-4AA10-0AA0 | SINAMICS DRIVE-CLIQ CABLE IP20/IP20 LENGTH: 0.95 M | 3 | R220 | Germany | 11 | weeks | 504000 | 1512000
20 | 6SX7002-0AN00-1AC0 | SIGNAL CABLE, PREASSEMBLE (1XP8 ZU SMC) 5X2X0,25, D. MAX. 8 MM , LENGTH (M) + 0 + 0 + 2 | 1 | R2S3 | Slovakia | 9 | weeks | 2400000 | 2400000
21 |  | Install equipments | 1 |  |  |  |  | 150000000 | 150000000
22 | 6ES7 138-4DC00-0AB0 | Simatic S7 Stepper Motor Positioning Module or Hybrid stepper motor + driver | 1 | R220 | United Kingdom or Japan | 9 | weeks | 50000000 | 50000000
23 | 6SL3072-0AA00-0AG0 | SOFTWARE ON DVD: STARTER COMMISSIONING TOOL,FOR SINAMICS AND MICROMASTER, VERSION V4.4 HF3,DVD FOR WINDOWS SERVER 2003 SP2 (32BIT) WINDOWS SERVER 2008 R2 SP1 (64-BIT) WINDOWS XP PROF SP3 (32-BIT), WINDOWS 7 (32 BIT AND 64 BIT) PROFESSIONAL, ULTIMATE AND ENTERPRISE (STANDARD) GERMAN, ENGLISH, SPANISH FRENCH AND ITALIAN CONTAINS ALREADY THE SSP FOR SINAMICS G/S VERSION V4.7 | 1 | R220 | Germany | 9 | weeks | 628100 | 628100
24 | 6AU1810-1HA22-1XA0 | SINAMICS ENGINEERING SYSTEM DCC SINAMICS V2.2 SP1 FULL LICENSE DCC FOR SINAMICS OPTION TO STARTER V4.3 SP1 DELIVERY ON DATA CARRIER DVD INCL: FLOATING LICENSE | 1 | R220 | Germany | 9 | weeks | 6273000 | 6273000
25 | 6SL3070-0AA00-0AG0 | SIZER FOR SIEMENS DRIVES DRIVE DESIGN TOOL DVD FOR WINDOWS XP PROFESSIONAL SP3, WINDOWS XP HOME SP3 AND WINDOWS VISTA BUSINESS WINDOWS 7 ULTIMATE (32/64BIT) WINDOWS 7 ENTERPRISE (32/64BIT) WINDOWS 7 PROF. (32/64BIT) RELEASE V3.11 | 1 | R220 | Germany | 13 | weeks | 753500 | 753500
26 | 5SY6110-7 | CIRCUIT BREAKER 230/400V 6KA, 1-POLE, C, 10A, D=70MM | 1 | P310 | Germany | 9 | weeks | 827500 | 827500
27 | 6EP1333-3BA00 | SITOP PSU200M 5 A STABILIZED POWER SUPPLY INPUT: 120/230-500 V AC OUTPUT: 24 V DC/5 A | 1 | R315 | Romania | 9 | weeks | 3238000 | 3238000
28 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45 CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663300 | 663300
|  | Installl equipments | 1 |  |  |  |  | 150000000 | 150000000
|  | Documments + Exercise + Trainning course | 1 |  |  |  |  | 50000000 | 50000000
Module Băng tải phân loại sản phẩm
1 | Laptop Dell Inspiron 3543-696TP1 | Intel Core i5-5200U 2.2GHz - 3M, DDRAM 4GB/1600 (1 slot), HDD 1Tb, | 1 |  | Dell |  |  | 17600000 | 17600000
2 | 6ES7214-1BG40-0XB0 | SIMATIC S7-1200, CPU 1214C, COMPACT CPU,AC/DC/RLY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 100 KB | 5 | R111 | Germany | 9 | weeks | 5200000 | 26000000 | Option 1: Dung nguon 220Vac
3 | 6ES7223-1PH30-0XB0 | MODULE EM1223 8DI, 8DO | 1 |  | Germany | 4 | weeks | 3200000 | 3200000
4 | 6ES7822-0AA03-0YA5 | SIMATIC STEP 7 BASIC V13 SP1 ,FLOATING LICENSE; ENGINEERING SOFTWARE IN TIA PORTAL;SOFTWARE AND DOCUMENTATION,ON DVD; LICENSE KEY,ON USB-STICK; CLASS A;6 LANGUAGES: GE,EN,IT,FR,SP,CN;EXECUTABLE UNDER WINDOWS 7 (32 BIT, 64 BIT), WINDOWS 8.1 (64 BIT); FOR CONFIGURATION OF,SIMATIC S7-1200,SIMATIC BASIC PANELS | 1 | R111 | Germany | 9 | weeks | 4587000 | 4587000
5 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663000 | 663000
6 | 6ES7274-1XF30-0XA0 | SIMATIC S7-1200, SIMULATOR MODULE SIM1274,8 CHANNEL SIMULATOR DC INPUT SWITCHES | 1 | R111 | Germany | 9 | weeks | 1326000 | 1326000
7 | 6ES7232-4HA30-0XB0 | SIMATIC S7-1200, ANALOG OUTPUT SB 1232, 1 AO, +/- 10VDC (12 BIT RES.) OR 0 - 20 MA (11 BIT RES) | 1 | R111 | Germany | 9 | weeks | 1246000 | 1246000
8 | 6GK5005-0BA00-1AB2 | SCALANCE XB005,UNMANAGED INDUSTRIAL ETHERNET ,SWITCH FOR 10/100MBIT/S; WITH,5 X 10/100MBIT/S TWISTED PAIR-PORTS WITH RJ45-SOCKETS;FOR CONFIGURING SMALL STAR-AND LINE TOPOGRAPHIES; LED-DIAGNOSIS, IP20, 24 V DC POWER SUPPLY,MANUAL AVAILABLE AS DOWNLOAD | 1 | R320 | Germany | 9 | weeks | 2547000 | 2547000
9 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663000 | 663000
10 | 6AV2124-0GC01-0AX0 | SIMATIC HMI TP700 COMFORT, COMFORT PANEL, TOUCH OPERATION, 7" WIDESCREEN-TFT-DISPLAY,16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 1 | R119 | Germany | 9 | weeks | 20174000 | 20174000
11 |  | Belt conveyor LxWxT : 1200x200x4 Power 400V 3phase 0.75kw 70 rpm | 3 |  | VN |  |  | 45000000 | 135000000
12 |  | Sensor E3MC | 6 |  | Omron |  |  | 8000000 | 48000000
13 |  | Hand cylinder + rotary cylinder 40x150 | 8 |  | Airtac |  |  | 4000000 | 32000000
14 |  | Install equipments | 1 |  |  |  |  | 200000000 | 200000000
15 |  | Documments + Exercise + Trainning course | 1 |  |  |  |  | 50000000 | 50000000
16 | 6SL3072-0AA00-0AG0 | SOFTWARE ON DVD: STARTER COMMISSIONING TOOL,FOR SINAMICS AND MICROMASTER, VERSION V4.4 HF3,DVD FOR WINDOWS SERVER 2003 SP2 (32BIT) WINDOWS SERVER 2008 R2 SP1 (64-BIT) WINDOWS XP PROF SP3 (32-BIT), WINDOWS 7 (32 BIT AND 64 BIT) PROFESSIONAL, ULTIMATE AND ENTERPRISE (STANDARD) GERMAN, ENGLISH, SPANISH FRENCH AND ITALIAN CONTAINS ALREADY THE SSP FOR SINAMICS G/S VERSION V4.7 | 1 | R220 | Germany | 9 | weeks | 628100 | 628100
17 | 6AU1810-1HA22-1XA0 | SINAMICS ENGINEERING SYSTEM DCC SINAMICS V2.2 SP1 FULL LICENSE DCC FOR SINAMICS OPTION TO STARTER V4.3 SP1 DELIVERY ON DATA CARRIER DVD INCL: FLOATING LICENSE | 1 | R220 | Germany | 9 | weeks | 6273000 | 6273000
18 | 6SL3070-0AA00-0AG0 | SIZER FOR SIEMENS DRIVES DRIVE DESIGN TOOL DVD FOR WINDOWS XP PROFESSIONAL SP3, WINDOWS XP HOME SP3 AND WINDOWS VISTA BUSINESS WINDOWS 7 ULTIMATE (32/64BIT) WINDOWS 7 ENTERPRISE (32/64BIT) WINDOWS 7 PROF. (32/64BIT) RELEASE V3.11 | 1 | R220 | Germany | 13 | weeks | 753500 | 753500
19 | 5SY6110-7 | CIRCUIT BREAKER 230/400V 6KA, 1-POLE, C, 10A, D=70MM | 1 | P310 | Germany | 9 | weeks | 827500 | 827500
20 | 6EP1333-3BA00 | SITOP PSU200M 5 A STABILIZED POWER SUPPLY INPUT: 120/230-500 V AC OUTPUT: 24 V DC/5 A | 1 | R315 | Romania | 9 | weeks | 3238000 | 3238000
21 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45 CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663300 | 663300
Module Khí nén
1 | Laptop Dell Inspiron 3543-696TP1 | Intel Core i5-5200U 2.2GHz - 3M, DDRAM 4GB/1600 (1 slot), HDD 1Tb, | 1 |  | Dell |  |  | 17600000 | 17600000
2 | 6ES7214-1BG40-0XB0 | SIMATIC S7-1200, CPU 1214C, COMPACT CPU,AC/DC/RLY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 100 KB | 1 | R111 | Germany | 9 | weeks | 5200000 | 5200000 | Option 1: Dung nguon 220Vac
| 6ES7223-1PH30-0XB0 | MODULE EM1223 8DI, 8DO | 1 |  | Germany | 4 | weeks | 3200000 | 3200000
3 | 6ES7822-0AA03-0YA5 | SIMATIC STEP 7 BASIC V13 SP1 ,FLOATING LICENSE; ENGINEERING SOFTWARE IN TIA PORTAL;SOFTWARE AND DOCUMENTATION,ON DVD; LICENSE KEY,ON USB-STICK; CLASS A;6 LANGUAGES: GE,EN,IT,FR,SP,CN;EXECUTABLE UNDER WINDOWS 7 (32 BIT, 64 BIT), WINDOWS 8.1 (64 BIT); FOR CONFIGURATION OF,SIMATIC S7-1200,SIMATIC BASIC PANELS | 1 | R111 | Germany | 9 | weeks | 4587000 | 4587000
4 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663000 | 663000
5 | 6ES7274-1XF30-0XA0 | SIMATIC S7-1200, SIMULATOR MODULE SIM1274,8 CHANNEL SIMULATOR DC INPUT SWITCHES | 1 | R111 | Germany | 9 | weeks | 1326000 | 1326000
6 | 6ES7232-4HA30-0XB0 | SIMATIC S7-1200, ANALOG OUTPUT SB 1232, 1 AO, +/- 10VDC (12 BIT RES.) OR 0 - 20 MA (11 BIT RES) | 1 | R111 | Germany | 9 | weeks | 1246000 | 1246000
7 | 6GK5005-0BA00-1AB2 | SCALANCE XB005,UNMANAGED INDUSTRIAL ETHERNET ,SWITCH FOR 10/100MBIT/S; WITH,5 X 10/100MBIT/S TWISTED PAIR-PORTS WITH RJ45-SOCKETS;FOR CONFIGURING SMALL STAR-AND LINE TOPOGRAPHIES; LED-DIAGNOSIS, IP20, 24 V DC POWER SUPPLY,MANUAL AVAILABLE AS DOWNLOAD | 1 | R320 | Germany | 9 | weeks | 2547000 | 2547000
8 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 3 | R320 | Germany | 9 | weeks | 663000 | 1989000
9 | 6AV2124-0GC01-0AX0 | SIMATIC HMI TP700 COMFORT, COMFORT PANEL, TOUCH OPERATION, 7" WIDESCREEN-TFT-DISPLAY,16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 1 | R119 | Germany | 9 | weeks | 20174000 | 20174000
10 |  | Air valve | 8 |  | Airtac | 1 | weeks | 4500000 | 36000000
11 |  | Air cylider | 8 |  | Airtac | 1 | weeks | 12600000 | 100800000
12 |  | Air compressor | 1 |  | Fuseng | 1 | weeks | 25000000 | 25000000
13 |  | Install equipments (clock valve, air pipe, connector….) | 1 |  |  |  |  | 150000000 | 150000000
|  | Documments + Exercise + Trainning course | 1 |  |  |  |  | 50000000 | 50000000
14 | 6SL3072-0AA00-0AG0 | SOFTWARE ON DVD: STARTER COMMISSIONING TOOL,FOR SINAMICS AND MICROMASTER, VERSION V4.4 HF3,DVD FOR WINDOWS SERVER 2003 SP2 (32BIT) WINDOWS SERVER 2008 R2 SP1 (64-BIT) WINDOWS XP PROF SP3 (32-BIT), WINDOWS 7 (32 BIT AND 64 BIT) PROFESSIONAL, ULTIMATE AND ENTERPRISE (STANDARD) GERMAN, ENGLISH, SPANISH FRENCH AND ITALIAN CONTAINS ALREADY THE SSP FOR SINAMICS G/S VERSION V4.7 | 1 | R220 | Germany | 9 | weeks | 628100 | 628100
15 | 6AU1810-1HA22-1XA0 | SINAMICS ENGINEERING SYSTEM DCC SINAMICS V2.2 SP1 FULL LICENSE DCC FOR SINAMICS OPTION TO STARTER V4.3 SP1 DELIVERY ON DATA CARRIER DVD INCL: FLOATING LICENSE | 1 | R220 | Germany | 9 | weeks | 6273000 | 6273000
16 | 6SL3070-0AA00-0AG0 | SIZER FOR SIEMENS DRIVES DRIVE DESIGN TOOL DVD FOR WINDOWS XP PROFESSIONAL SP3, WINDOWS XP HOME SP3 AND WINDOWS VISTA BUSINESS WINDOWS 7 ULTIMATE (32/64BIT) WINDOWS 7 ENTERPRISE (32/64BIT) WINDOWS 7 PROF. (32/64BIT) RELEASE V3.11 | 1 | R220 | Germany | 13 | weeks | 753500 | 753500
17 | 5SY6110-7 | CIRCUIT BREAKER 230/400V 6KA, 1-POLE, C, 10A, D=70MM | 1 | P310 | Germany | 9 | weeks | 827500 | 827500
18 | 6EP1333-3BA00 | SITOP PSU200M 5 A STABILIZED POWER SUPPLY INPUT: 120/230-500 V AC OUTPUT: 24 V DC/5 A | 1 | R315 | Romania | 9 | weeks | 3238000 | 3238000
19 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45 CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663300 | 663300
Module chuyển đổi AD-DA
1 | Laptop Dell Inspiron 3543-696TP1 | Intel Core i5-5200U 2.2GHz - 3M, DDRAM 4GB/1600 (1 slot), HDD 1Tb, | 1 |  | Dell |  |  | 17600000 | 17600000
2 | 6ES7214-1BG40-0XB0 | SIMATIC S7-1200, CPU 1214C, COMPACT CPU,AC/DC/RLY, ONBOARD I/O: 14 DI 24V DC; 10 DO RELAY 2A; 2 AI 0 - 10V DC, POWER SUPPLY: AC 85 - 264 V AC AT 47 - 63 HZ, PROGRAM/DATA MEMORY: 100 KB | 1 | R111 | Germany | 9 | weeks | 5200000 | 5200000 | Option 1: Dung nguon 220Vac
3 | 6ES7822-0AA03-0YA5 | SIMATIC STEP 7 BASIC V13 SP1 ,FLOATING LICENSE; ENGINEERING SOFTWARE IN TIA PORTAL;SOFTWARE AND DOCUMENTATION,ON DVD; LICENSE KEY,ON USB-STICK; CLASS A;6 LANGUAGES: GE,EN,IT,FR,SP,CN;EXECUTABLE UNDER WINDOWS 7 (32 BIT, 64 BIT), WINDOWS 8.1 (64 BIT); FOR CONFIGURATION OF,SIMATIC S7-1200,SIMATIC BASIC PANELS | 1 | R111 | Germany | 9 | weeks | 4587000 | 4587000
4 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 5 | R320 | Germany | 9 | weeks | 663000 | 3315000
5 | 6ES7274-1XF30-0XA0 | SIMATIC S7-1200, SIMULATOR MODULE SIM1274,8 CHANNEL SIMULATOR DC INPUT SWITCHES | 4 | R111 | Germany | 9 | weeks | 1326000 | 5304000
6 | 6ES7232-4HA30-0XB0 | SIMATIC S7-1200, ANALOG OUTPUT SB 1232, 1 AO, +/- 10VDC (12 BIT RES.) OR 0 - 20 MA (11 BIT RES) | 4 | R111 | Germany | 9 | weeks | 1246000 | 4984000
7 | 6GK5005-0BA00-1AB2 | SCALANCE XB005,UNMANAGED INDUSTRIAL ETHERNET ,SWITCH FOR 10/100MBIT/S; WITH,5 X 10/100MBIT/S TWISTED PAIR-PORTS WITH RJ45-SOCKETS;FOR CONFIGURING SMALL STAR-AND LINE TOPOGRAPHIES; LED-DIAGNOSIS, IP20, 24 V DC POWER SUPPLY,MANUAL AVAILABLE AS DOWNLOAD | 2 | R320 | Germany | 9 | weeks | 2547000 | 5094000
8 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET,TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45,CONNECTORS, LENGTH 6 M | 4 | R320 | Germany | 9 | weeks | 663000 | 2652000
9 | 6AV2124-0GC01-0AX0 | SIMATIC HMI TP700 COMFORT, COMFORT PANEL, TOUCH OPERATION, 7" WIDESCREEN-TFT-DISPLAY,16 MIL. COLORS, PROFINET INTERFACE, MPI/PROFIBUS DP INTERFACE, 12 MB USER MEMORY, WINDOWS CE 6.0, CONFIGURABLE FROM WINCC COMFORT V11 | 1 | R119 | Germany | 9 | weeks | 20174000 | 20174000
10 |  | Temperature sensor pt 100 ohm, range 0-200 C, transmitter | 1 |  | Omron | 1 | weeks | 24000000 | 24000000
11 |  | Load cell + converter (0-20mA) output , supply 24V DC +transmitter | 1 |  | skytron | 4 | weeks | 42000000 | 42000000
12 |  | Pressure transducer 0-20 bar | 1 |  | Autonic |  |  | 35000000 | 35000000
|  | Install equipments | 1 |  |  |  |  | 150000000 | 150000000
|  | Documments + Exercise + Trainning course | 1 |  |  |  |  | 50000000 | 50000000
13 | 6SL3072-0AA00-0AG0 | SOFTWARE ON DVD: STARTER COMMISSIONING TOOL,FOR SINAMICS AND MICROMASTER, VERSION V4.4 HF3,DVD FOR WINDOWS SERVER 2003 SP2 (32BIT) WINDOWS SERVER 2008 R2 SP1 (64-BIT) WINDOWS XP PROF SP3 (32-BIT), WINDOWS 7 (32 BIT AND 64 BIT) PROFESSIONAL, ULTIMATE AND ENTERPRISE (STANDARD) GERMAN, ENGLISH, SPANISH FRENCH AND ITALIAN CONTAINS ALREADY THE SSP FOR SINAMICS G/S VERSION V4.7 | 1 | R220 | Germany | 9 | weeks | 628100 | 628100
14 | 6AU1810-1HA22-1XA0 | SINAMICS ENGINEERING SYSTEM DCC SINAMICS V2.2 SP1 FULL LICENSE DCC FOR SINAMICS OPTION TO STARTER V4.3 SP1 DELIVERY ON DATA CARRIER DVD INCL: FLOATING LICENSE | 1 | R220 | Germany | 9 | weeks | 6273000 | 6273000
15 | 6SL3070-0AA00-0AG0 | SIZER FOR SIEMENS DRIVES DRIVE DESIGN TOOL DVD FOR WINDOWS XP PROFESSIONAL SP3, WINDOWS XP HOME SP3 AND WINDOWS VISTA BUSINESS WINDOWS 7 ULTIMATE (32/64BIT) WINDOWS 7 ENTERPRISE (32/64BIT) WINDOWS 7 PROF. (32/64BIT) RELEASE V3.11 | 1 | R220 | Germany | 13 | weeks | 753500 | 753500
16 | 5SY6110-7 | CIRCUIT BREAKER 230/400V 6KA, 1-POLE, C, 10A, D=70MM | 1 | P310 | Germany | 9 | weeks | 827500 | 827500
17 | 6EP1333-3BA00 | SITOP PSU200M 5 A STABILIZED POWER SUPPLY INPUT: 120/230-500 V AC OUTPUT: 24 V DC/5 A | 1 | R315 | Romania | 9 | weeks | 3238000 | 3238000
18 | 6XV1870-3RH60 | SIMATIC NET INDUSTRIAL ETHERNET TP XP CORD RJ45/RJ45, CAT 6A, CROSSED TP CABLE 4X2, PREASSEMBLED W. 2 RJ45 CONNECTORS, LENGTH 6 M | 1 | R320 | Germany | 9 | weeks | 663300 | 663300
|  | Total labour for this scope + commisionning | 1 |  | VN |  |  | 400000000 | 400000000
|  | Total Price excl. VAT | [6 empty] | 2624381000
|  | VAT 10% | [6 empty] | 262438100
|  | Total Price inc. VAT | [6 empty] | 2886819100