UBND THÀNH PHỐ HỒ CHÍ MINH	CỘNG HÒA XÃ HỘI  CHỦ NGHĨA VIỆT NAM TRƯỜNG CAO ĐẲNG KỸ THUẬT	Độc lập - Tự do - Hạnh phúc

LÝ TỰ TRỌNG TP. HỒ CHÍ MINH

ĐỀ THI KẾT THÚC HỌC PHẦN LÝ THUYẾT

HỌC KỲ: II		NĂM HỌC:  2016 – 2017

Bậc đào tạo: Cao Đẳng Kỹ Thuật

Học phần: Anh Văn Chuyên Ngành

Lớp:  15CĐ-ĐĐT   		 Ngày thi:  ____ / ____ / 2017

Thời gian thi: 60 phút  (không kể thời gian phát đề)

Mã đề 001

- Thí sinh không được sử dụng tài liệu, không làm trên đề, nộp lại đề sau khi thi

- Bài thi này gồm 50 câu, mỗi câu 0, 2 điểm.

Choose the correct answer:

1. The movement of free electrons towards the positive end.

| A. Electric current | B. Electric motor | C. Direct current | D. Alternating current |
| --- | --- | --- | --- |

2. A current which flows first in one direction, then in the other.

| A. Electric current | B. Electric motor | C. Direct current | D. Alternating current |
| --- | --- | --- | --- |

3. A current which flows in one direction only.

| A. Electric current | B. Electric motor | C. Direct current | D. Alternating current |
| --- | --- | --- | --- |

4. A device which converts electrical energy into mechanical energy.

| A. Electric current | B. Electric motor | C. Direct current | D. Alternating current |
| --- | --- | --- | --- |

5. A device which changes chemical energy into electrical energy.

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

6. An instrument which measures current.

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

7. A device which is used to add resistance to a circuit

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

8. A device which converts mechanical energy into electrical energy.

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

9. Materials which provide an easy path for an electric current.

| A. Conductors | B. Insulators | C. Semiconductors | D. All are correct |
| --- | --- | --- | --- |

10. Materials which do not easily release electrons.

| A. Conductors | B. Insulators | C. Semiconductors | D. All are correct |
| --- | --- | --- | --- |

11. Materials which are midway between conductors and insulators.

| A. Conductors | B. Insulators | C. Semiconductors | D. All are correct |
| --- | --- | --- | --- |

12. A kind of load which changes electrical energy into light and heat.

| A. Light meter | B. Electrolysis | C. Solar cell | D. Lamp |
| --- | --- | --- | --- |

13. An electric cell which converts sunlight into electrical energy.

| A. Light meter | B. Electrolysis | C. Solar cell | D. Lamp |
| --- | --- | --- | --- |

14. A process in which an electric current can separate a chemical compound into its components.

| A. Light meter | B. Electrolysis | C. Solar cell | D. Lamp |
| --- | --- | --- | --- |

15. An instrument which measures light.

| A. Light meter | B. Electrolysis | C. Solar cell | D. Lamp |
| --- | --- | --- | --- |

16. Rated current up to 100A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

17. Rated current up to 1000A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

18. Rated current up to 10000A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

19. Rated current up to 3000A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

20. It's used to change AC voltages from small to large or from large to small.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

21. It's used for measuring very small currents.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

22. It's used to check the logic levels in the pins of ICs.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

23. It's used as part of a burglar alarm to detect movement.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

24. It's used for the transmission of RF signals.

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

25. The classic DC motor has a rotating armature in the form of an electromagnet with … poles

| A. 2 | B. 3 | C. 4 | D. 5 |
| --- | --- | --- | --- |

26. It's used for protecting circuits from a surge in voltage..

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

27. It's used to master down different recordings to make a master tape.

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

28. It's used to find buried metal.

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

29. ……….detect current imbalance

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

30. ……….detect earth current

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

31. ……….overload or short circuit protection.

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

32.  ……….fault and over-current protection.

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

33. …………is an electrical device used for controlling power flow.

| A. A contactor | B. An inverter | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

34. …………is a device used to encode a signal

| A. A contactor | B. An inverter | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

35. …………is a device that detects and responds to some type of input from the physical environment

| A. A contactor | B. An inverter | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

36. ………..is an electric device that changes direct current to alternating current.

| A. An inverter | B. A contactor | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

37. ………..is an electrical switch that periodically reverses the current in an electric motor or electrical generator

| A. Inverter | B. Commutator | C. Contactor | D. Moment |
| --- | --- | --- | --- |

38 ………..is one of the two principal components of an electro-mechanical machine-a motor or generator

| A. Commutator | B. Contactor | C. Armature | D. Inverter |
| --- | --- | --- | --- |

39. ………..can be thought of informally as "rotational force".

| A. Torque | B. Moment | C. Armature | D. Inverter |
| --- | --- | --- | --- |

40. Alternating current is abbreviated to………

| A. DC | B. AC | C. AD | D. CD |
| --- | --- | --- | --- |

41. Direct current is abbreviated to………….

| A. AC | B. CD | C. DC | D. AD |
| --- | --- | --- | --- |

42. The output of a gate for all possible inputs?

| A. TTL and CMOS | B. a pin-out diagram | C. an inverter | D. a truth table |
| --- | --- | --- | --- |

43 The arrangement of the gates and the function of each pin on the chip

| A. a pin-out diagram | B. TTL and CMOS | C. an inverter | D. a truth table |
| --- | --- | --- | --- |

44. What is another name for a NOT gate?

| A. a pin-out diagram | B. TTL and CMOS | C. a truth table | D. an inverter |
| --- | --- | --- | --- |

45. What are the two common families of logic ICs?

| A. a pin-out diagram | B. TTL and CMOS | C. a truth table | D. an inverter |
| --- | --- | --- | --- |

46. The number of ICs used in a computer

| A. logic gate | B. combinational | C. chip count | D. scale of integration |
| --- | --- | --- | --- |

47…... ...is (are) burned in large furnaces to heat water to make steam that in turn pushes on the blades of a turbine.

| A. Coal | B. Petroleum(oil) | C. Natural gas | D. All are correct |
| --- | --- | --- | --- |

48……. comes from heat energy buried beneath the surface of the earth.

| A. Geothermal power | B. Solar power | C. Nuclear power | D. Wind power |
| --- | --- | --- | --- |

49.......... is a method in which steam is produced by heating water through a process called nuclear fission.

| A. Solar power | B. Geothermal power | C. Nuclear power | D. Wind power |
| --- | --- | --- | --- |

50.......... is derived from the energy of the sun

| A. Nuclear power | B. Geothermal power | C. Solar power | D. Wind power |
| --- | --- | --- | --- |

____Hết_______

GHI CHÚ: CÁN BỘ COI THI KHÔNG ĐƯỢC GIẢI THÍCH GÌ THÊM.

TRƯỞNG KHOA	       TRƯỞNG BỘ MÔN		GIẢNG VIÊN RA ĐỀ