UBND THÀNH PHỐ HỒ CHÍ MINH	CỘNG HÒA XÃ HỘI  CHỦ NGHĨA VIỆT NAM TRƯỜNG CAO ĐẲNG KỸ THUẬT	Độc lập - Tự do - Hạnh phúc

LÝ TỰ TRỌNG TP. HỒ CHÍ MINH

ĐỀ THI KẾT THÚC HỌC PHẦN LÝ THUYẾT

HỌC KỲ: II		NĂM HỌC:  2016 – 2017

Bậc đào tạo: Cao Đẳng Kỹ Thuật

Học phần: Anh Văn Chuyên Ngành

Lớp:  15CĐ-ĐĐT   		 Ngày thi:  ____ / ____ / 2017

Thời gian thi: 60 phút  (không kể thời gian phát đề)

Mã đề 003

- Thí sinh không được sử dụng tài liệu, không làm trên đề, nộp lại đề sau khi thi

- Bài thi này gồm 50 câu, mỗi câu 0, 2 điểm.

Choose the correct answer:

Microprocessors are now…. (1)… control many household items …(2)…automatic washing-machines, dishwashers, …(3)….heating systems, sewing machines, and food processors. Electronic timers …(4)… in digital alarm clocks, water heaters, electric cookers, and microwave ovens. …(5)….use electronics to …(6)…automatic dialling and answerphone facilities. New entertainment devices …(7)…developed, such as video recorders and CD (compact disc) players.

…(8)…, electronics are likely to become even more common in the home …(9)…multimedia entertainment systems and computer-controlled robots…(10)….

| 1. A. use | B. using | C. used to | D. used for |
| --- | --- | --- | --- |
| 2. A. like | B. such as | C. as | D. All are correct |
| 3. A. center | B. central | C. in | D. All are correct |
| 4. A. found | B. is found | C. are found | D. None is correct |
| 5. A. Televisions | B. Radios | C. Computers | D. Telephones |
| 6. A. provide | B. supply | C. give | D. have |
| 7. A. has been | B. had been | C. have been | D. have |
| 8. A. Today | B. In the future | C. In the past | D. Nowadays |
| 9. A. as | B. like | C. such as | D. All are correct |
| 10. A. developed | B. have developed | C. is developed | D. are developed |

11. An instrument which measures current.

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

12. A device which is used to add resistance to a circuit

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

13. A device which converts mechanical energy into electrical energy.

| A. Generator | B. Battery | C. Resistor | D. Ammeter |
| --- | --- | --- | --- |

14. Materials which provide an easy path for an electric current.

| A. Conductors | B. Insulators | C. Semiconductors | D. All are correct |
| --- | --- | --- | --- |

15. Materials which do not easily release electrons.

| A. Conductors | B. Insulators | C. Semiconductors | D. All are correct |
| --- | --- | --- | --- |

16. Rated current up to 100A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

17. Rated current up to 1000A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

18. Rated current up to 10000A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

19. Rated current up to 3000A.

| A. MCB | B. MCCB | C. ACB | D. VCB |
| --- | --- | --- | --- |

20. It's used to change AC voltages from small to large or from large to small.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

21. It's used for measuring very small currents.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

22. It's used to check the logic levels in the pins of ICs.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

23. It's used as part of a burglar alarm to detect movement.

| A. a logic probe | B. a motion sensor | C. a multi meter | D. a transformer |
| --- | --- | --- | --- |

24. It's used for the transmission of RF signals.

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

25. The classic DC motor has a rotating armature in the form of an electromagnet with … poles

| A. 2 | B. 3 | C. 4 | D. 5 |
| --- | --- | --- | --- |

26. It's used for protecting circuits from a surge in voltage..

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

27. It's used to master down different recordings to make a master tape.

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

28. It's used to find buried metal.

| A. a circuit breaker. | B. a transmitter aerial. | C. a metal detector | D. a mixer. |
| --- | --- | --- | --- |

29. ……….detect current imbalance

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

30. ……….detect earth current

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

31. ……….overload or short circuit protection.

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

32.  ……….fault and over-current protection.

| A. RCD | B. ELCB | C. CB | D. RCBO |
| --- | --- | --- | --- |

33. …………is an electrical device used for controlling power flow.

| A. A contactor | B. An inverter | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

34. …………is a device used to encode a signal.

| A. A contactor | B. An inverter | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

35. …………is a device that detects and responds to some type of input from the physical environment

| A. A contactor | B. An inverter | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

36. ………..is an electric device that changes direct current to alternating current.

| A. An inverter | B. A contactor | C. A sensor | D. An encoder |
| --- | --- | --- | --- |

37. ………..is an electrical switch that periodically reverses the current in an electric motor or electrical generator

| A. Inverter | B. Commutator | C. Contactor | D. Moment |
| --- | --- | --- | --- |

38 ………..is one of the two principal components of an electro-mechanical machine-a motor or generator

| A. Commutator | B. Contactor | C. Armature | D. Inverter |
| --- | --- | --- | --- |

39. ………..can be thought of informally as "rotational force".

| A. Torque | B. Moment | C. Armature | D. Inverter |
| --- | --- | --- | --- |

40. Alternating current is abbreviated to………

| A. DC | B. AC | C. AD | D. CD |
| --- | --- | --- | --- |

41. Direct current is abbreviated to………….

| A. AC | B. CD | C. DC | D. AD |
| --- | --- | --- | --- |

42. The output of a gate for all possible inputs?

| A. TTL and CMOS | B. a pin-out diagram | C. an inverter | D. a truth table |
| --- | --- | --- | --- |

43 The arrangement of the gates and the function of each pin on the chip

| A. a pin-out diagram | B. TTL and CMOS | C. an inverter | D. a truth table |
| --- | --- | --- | --- |

44. What is another name for a NOT gate?

| A. a pin-out diagram | B. TTL and CMOS | C. a truth table | D. an inverter |
| --- | --- | --- | --- |

45. What are the two common families of logic ICs?

| A. a pin-out diagram | B. TTL and CMOS | C. a truth table | D. an inverter |
| --- | --- | --- | --- |

46. The number of ICs used in a computer

| A. logic gate | B. combinational | C. chip count | D. scale of integration |
| --- | --- | --- | --- |

47…... ...is (are) burned in large furnaces to heat water to make steam that in turn pushes on the blades of a turbine.

| A. Coal | B. Petroleum(oil) | C. Natural gas | D. All are correct |
| --- | --- | --- | --- |

48……. comes from heat energy buried beneath the surface of the earth.

| A. Geothermal power | B. Solar power | C. Nuclear power | D. Wind power |
| --- | --- | --- | --- |

49.......... is a method in which steam is produced by heating water through a process called nuclear fission.

| A. Solar power | B. Geothermal power | C. Nuclear power | D. Wind power |
| --- | --- | --- | --- |

50.......... is derived from the energy of the sun

| A. Nuclear power | B. Geothermal power | C. Solar power | D. Wind power |
| --- | --- | --- | --- |

____Hết_______

GHI CHÚ: CÁN BỘ COI THI KHÔNG  ĐƯỢC GIẢI THÍCH GÌ THÊM.

TRƯỞNG KHOA	       TRƯỞNG BỘ MÔN		GIẢNG VIÊN RA ĐỀ