## Domestic-Schnieder
Equipment - Other
Order ASAP
Part | Prioity | Brand | VN Reference | Description | UOM | Qty | Price | Total | Delivery | Obs
Domestic | 1 |  | Local | single phase meters from local Electrical Utility (optional) | Nos | 12 |  | 0
Domestic | 1 |  | Local | 1G box, 101x51x38mm - Surface Mount | Nos | 48 |  | 0
Domestic | 1 |  | local | 1G box, 101x51x51mm - Surface Mount | Nos | 48 |  | 0
Domestic | 1 |  | Local | batten holder | Nos | 48 |  | 0
Domestic | 1 |  | Local | Boxes support lamp | Nos | 36 |  | 0
Domestic | 1 |  | Local | fans | Nos | 12 |  | 0
Domestic | 1 |  | Local | batten lamps 220V, 45 Watts | Nos | 36 |  | 0
Domestic | 1 |  | Local | junction boxes 3 Ways 16mm | Nos | 24 |  | 0
Domestic | 1 |  | Local | junction boxes 3 ways 20 mm | Nos | 24 |  | 0
Domestic | 1 |  | Local | junction boxes 4 Ways 16mm | Nos | 24 |  | 0
Domestic | 1 |  | Local | junction boxes 4 ways 20 mm | Nos | 24 |  | 0
Domestic | 1 |  | Local | grey IBTA sheath diameter 16mm (flexible Pipe) | Mtr | 36 |  | 0
Domestic | 1 |  | Local | ISR pipes long 3 m diameter 16 mm | Nos | 24 |  | 0
Domestic | 1 |  | Local | ISR pipes long 3 m diameter 20 mm | Nos | 24 |  | 0
Domestic | 1 |  | Local | Saddle 16 mm | Nos | 200 |  | 0
Domestic | 1 |  | Local | Saddle 20 mm | Nos | 200 |  | 0
Domestic | 1 |  | Local | Straight junctions for ISR pipe 16 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | Straight junctions for ISR pipe 20 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | Crooked junctions for ISR pipe 16 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | Crooked junctions for ISR pipe 20 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | “T” junctions for ISR pipe 16 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | “T” junctions for ISR pipe 20 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | Squarely junctions for ISR pipe 16 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | Squarely junctions for ISR pipe 20 mm | Nos | 48 |  | 0
Domestic | 1 |  | Local | Clips for ISR pipe 16 et 20 mm | Nos | 240 |  | 0
Domestic | 1 |  | Local | Raceway 10*30mm | Mtr | 30 |  | 0
Domestic | 1 |  | Local | Surface mounted junction boxes | Nos | 36 |  | 0
Domestic | 1 |  | Local | Cable tie | Nos | 300 |  | 0
Domestic | 1 |  | Local | Connector “Dominoes” 4mm2 (Insulated Screw Joint) | Nos | 200 |  | 0
Domestic | 1 |  | Local | Wooden screw 4*25 mm | Nos | 500 |  | 0
Domestic | 1 |  | Local | Plastic plugs for 4mm screw | Nos | 200 |  | 0
Domestic | 1 |  | Local | Insulating tape (Red, Yellow, Blue, Black, Green) | Set | 12 |  | 0
Solar | 1 |  | Local | Cable for Solar Panels | mtr | 50 |  | 0
Solar | 1 |  | Local | MC4 Connector for Solar Panels - Male & Female Pair | Nos | 20 |  | 0
Solar | 1 |  | Local | MC4 T-Branch Solar Connectors - 2 males - 1 female | Nos | 10 |  | 0
Solar | 1 |  | Local | MC4 T-Branch Solar Connectors - 1 male - 2 females | Nos | 10 |  | 0
Solar | 1 |  | Local | Solar Panel 12V 150 W | Nos | 12 |  | 0
Industrial | 1 |  | Local | Three-phase asynchronous motor 230/690 V - 0,25 Hp | Nos | 3 |  | 0
Industrial | 1 |  | Local | Cable 5*2,5 sqmm | Mtr | 25 |  | 0
Other | 1 |  | Local | Soldering Iron | Nos | 6 |  | 0
Other | 1 |  | Local | Solder | Nos | 6 |  | 0
Other | 1 |  | Local | Desoldering pump | Nos | 6 |  | 0
Total | [7 empty] | 0 |  | 0
Delivery by the end of August
Part | Prioity | Brand | VN Reference | Description | UOM | Qty | Price | Total | Delivery | Obs
Industrial | 2 |  | Local | Bolt M4, 20 mm | Nos | 50 |  | 0
Industrial | 2 |  | Local | Nuts M4 | Nos | 50 |  | 0
Industrial | 2 |  | Local | Washer | Nos | 100 |  | 0
Industrial | 2 |  | Local | Spring Washer | Nos | 50 |  | 0
Industrial | 2 |  | Local | Ferrules "0" (1 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "1" (1 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "2" (1 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "3" (1 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "4" (1 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "5" (1 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "6" (1 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "7" (1 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "8" (1 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "9" (1 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "0" (1,5 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "1" (1,5 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "2" (1,5 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "3" (1,5 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "4" (1,5 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "5" (1,5 sqmm) | Nos | 600 |  | 0
Industrial | 2 |  | Local | Ferrules "6" (1,5 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "7" (1,5 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "8" (1,5 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "9" (1,5 sqmm) | Nos | 500 |  | 0
Industrial | 2 |  | Local | Ferrules "L" (1,5 sqmm) | Nos | 300 |  | 0
Industrial | 2 |  | Local | Ferrules "N" (1,5 sqmm) | Nos | 300 |  | 0
Industrial | 2 |  | Local | Ferrules "P" (1,5 sqmm) | Nos | 300 |  | 0
Industrial | 2 |  | Local | Ferrules "E" (1,5 sqmm) | Nos | 300 |  | 0
Industrial | 2 |  | Local | Lugs 1sqm | Nos | 2000 |  | 0
Industrial | 2 |  | Local | Lugs 1.5 sqm | Nos | 1000 |  | 0
Industrial | 2 |  | Local | Lugs 2.5 sqm | Nos | 1000 |  | 0
VDI equipments | 2 |  | Local | RJ 45 female connector | Nos | 100 |  | 0
VDI equipments | 2 |  | Local | Crimping Tool for RJ 45 | Nos | 4 |  | 0
VDI equipments | 2 |  | Local | Coaxial Cable | Mtr | 30 |  | 0
VDI equipments | 2 |  | Local | Sliptter | Nos | 4 |  | 0
VDI equipments | 2 |  | Local | RJ 45 wall plate | Nos | 30 |  | 0
Total | [7 empty] | 0 |  | 0
Delivery by the end of September
Part | Prioity | Brand | VN Reference | Description | UOM | Qty | Price | Total | Delivery | Obs
Intrusion alarm equipments | 3 |  | Local | motion detectors | Nos | 4 |  | 0
Intrusion alarm equipments | 3 |  | Local | siren | Nos | 2 |  | 0
Intrusion alarm equipments | 3 |  | Local | broken glass detector | Nos | 2 |  | 0
Intrusion alarm equipments | 3 |  | Local | magnetic contact of door | Nos | 2 |  | 0
Intrusion alarm equipments | 3 |  | Local | keyboard of control | Nos | 2 |  | 0
Intrusion alarm equipments | 3 |  | Local | anti-intrusion central unit | Nos | 2 |  | 0
Intrusion alarm equipments | 3 |  | Local | CAT 4 Cable | Mtr | 50 |  | 0
Fire alarm equipments | 3 |  | Local | Control Panel | Nos | 2 |  | 0
Fire alarm equipments | 3 |  | Local | Smoke/Heat detectors | Nos | 4 |  | 0
Fire alarm equipments | 3 |  | Local | Manual Call Points | Nos | 2 |  | 0
Fire alarm equipments | 3 |  | Local | Buzzer/Hooter | Nos | 2 |  | 0
Access control equipments | 3 |  | Local | distribution panel | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | main circuit breaker | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | residual current circuit breaker | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | street door station with 4 bell push buttons | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | power supply 12 V | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | electrical door release | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | pushbutton for exit | Nos | 1 |  | 0
Access control equipments | 3 |  | Local | indoor stations | Nos | 4 |  | 0
Various domestic electrical appliances | 3 |  | Local | Geyser | Nos | 2 |  | 0
Various domestic electrical appliances | 3 |  | Local | Water purifiers | Nos | 2 |  | 0
Various domestic electrical appliances | 4 |  | Local | Air Conditioners | Nos | 1 |  | 0
Various domestic electrical appliances | 3 |  | Local | Iron Box | Nos | 2 |  | 0
Various domestic electrical appliances | 3 |  | Local | Kettle | Nos | 2 |  | 0
Various domestic electrical appliances | 3 |  | Local | UPS | Nos | 2 |  | 0
Total | [7 empty] | 0 |  | 0