## Domestic-Schnieder
Equipment - Schneider
Order ASAP
Part | Prioity | Brand | VN Reference | Description | UOM | Qty | Price | Total | Obs
Domestic | 1 | Schneider | EZ9F34240 | main circuit breakers 15/45A type S | Nos | 12 |  | 0
Domestic | 1 | Schneider | MIP22212 | Panel board 24 modules | Nos | 12 |  | 0
Domestic | 1 | Schneider | A9R71240 | Residual current circuit breaker 40A type AC 30mA | Nos | 24 |  | 0
Domestic | 1 | Schneider | EZ9F34206 | Modular circuit breaker type C2A 6A - 2P | Nos | 12 |  | 0
Domestic | 1 | Schneider | EZ9F34216 | Modular circuit breaker type C16A - 2P | Nos | 72 |  | 0
Domestic | 1 | Schneider | EZ9F34220 | Modular circuit breaker type C20A - 2P | Nos | 72 |  | 0
Domestic | 1 | Schneider | EZ9F34225 | Modular circuit breaker type C25A - 2P | Nos | 12 |  | 0
Domestic | 1 | Schneider | EZ9F34232 | Modular circuit breaker type C32A - 2P | Nos | 12 |  | 0
Domestic | 1 | Schneider | EZ9L33620 | Surge Arrester (SPD) | Nos | 12 |  | 0
Domestic | 1 | Schneider | A9C20732 | Modular contactors - 2P | Nos | 12 |  | 0
Domestic | 1 | Schneider | A9C30811 | Modular impulse relays | Nos | 12 |  | 0
Domestic | 1 | Schneider | A9E16066 | Modular time switches | Nos | 12 |  | 0
Domestic | 1 | Schneider | CCT15722 | Modular timers | Nos | 12 |  | 0
Domestic | 1 | Schneider | CCT15284 | Twilight switches | Nos | 12 |  | 0
Domestic | 1 | Schneider | 15281 | Spare photocells | Nos | 12 |  | 0
Domestic | 1 | Schneider | 3031_1_2M_F_G19 | Simple way switches(S) | Nos | 60 |  | 0
Domestic | 1 | Schneider | 3031_2_3M_F_G19 | Two way switches (S) | Nos | 60 |  | 0
Domestic | 1 | Schneider | 3031M2_3M_F_G19 | Two way switches (M) | Nos | 36 |  | 0
Domestic | 1 | Schneider | 3031EMD20NM_G19 | Switches 20A | Nos | 12 |  | 0
Domestic | 1 | Schneider | 3031EMBP2_3_G19 | Push switches (Bell) | Nos | 72 |  | 0
Domestic | 1 | Schneider | 3426UESTM_G19 | Sockets 6A | Nos | 24 |  | 0
Domestic | 1 | Schneider | 3426UEST2M_G19 | Sockets 16A Twin Sockets | Nos | 24 |  | 0
Domestic | 1 | Schneider | 3031V400FM_K_WE | Step fan | Nos | 12 |  | 0
Domestic | 1 | Schneider | 3031V500M_K_WE | Light Dimer | Nos | 12 |  | 0
Domestic | 1 | Schneider | SAE_UE_MS_CSAWE | Flush/Surface Mount Single-Load 360º PIR Motion Sensor | Nos | 12 |  | 0
Domestic | 1 | Schneider | A3001_G19 | 1 gang plate & grid | Nos | 36 |  | 0
Domestic | 1 | Schneider | A3002_G19 | 2 gang plate & grid | Nos | 36 |  | 0
Domestic | 1 | Schneider | A3000_G19 | 3 gang plate & grid | Nos | 36 |  | 0
Domestic | 1 | Schneider | A3000T2_G19 | Twin Plate | Nos | 36 |  | 0
Domestic | 1 | Schneider | 157 | 1G box, 101x51x38mm | Nos | 60 |  | 0
Domestic | 1 | Schneider | 157_1 | 1G box, 101x51x51mm | Nos | 48 |  | 0
Industrial | 1 | Schneider | DF102 | Fuse holder disconnectors | Nos | 24 |  | 0
Industrial | 1 | Schneider | DF103N | Fuse holder disconnectors | Nos | 12 |  | 0
Industrial | 1 | Schneider | DF2CA06 | Fuse 6A Am, 10 X 38 MM | Nos | 100 |  | 0
Industrial | 1 | Schneider | DF2CA04 | Fuse 4A Gg, 10 X 38 MM | Nos | 100 |  | 0
Sum | [7 empty] | 0
Delivery By the end of August
Part | Prioity | Brand | VN Reference | Description | UOM | Qty | Price | Total | Obs
Industrial | 2 | Schneider | PKE16M435 | plug - straight - 16 A - 3P + N + E - 380...415 V AC - IP44 | Nos | 6 |  | 0
Industrial | 2 | Schneider | PKE16M423 | plug - straight - 16 A - 2P + E - 200...250 V AC - IP44 | Nos | 6 |  | 0
VDI equipments | 2 | Schneider | DC6CAUTP4P1X | CAT5/CAT6 Cable | Mtr | 50 |  | 0
VDI equipments | 2 | Schneider | 3031RJ88SMA5_G19 | RJ 45 connector | Nos | 20 |  | 0
VDI equipments | 2 | Schneider | DC6KYSTUWT | RJ45 Male Connector White | Nos | 50 |  | 0
VDI equipments | 2 | Schneider | DC6KYSTUYL | RJ45 Male Connector Yellow | Nos | 50 |  | 0
VDI equipments | 2 | Schneider | 3031TV75MS_G19 | Coaxial Cable Connector | Nos | 100 |  | 0
VDI equipments | 2 | Schneider | 3031RJ64M_G19 | Tel outlet | Nos | 20 |  | 0
Sum | [7 empty] | 0